## Slide 1
Evaluation of Accuracy of Digital Thermometers

## Slide 2
Results of Clinical Study Showing Over- and Under-estimation of body Temperature by Store Brand Thermometers

## Slide 3: Experimental Setup of a Artificial Human Arm To Evaluate Accuracy of Store Brand Thermometer for Various Conditions

## Slide 4: Comparison of Store Brand Thermometers with that by a Thermistor Bead Sensor for Various Conditions

## Slide 5: How To Improve?